## Instructions
BIDDER INSTRUCTIONS:
Please complete the following tabs as instructed (in each tab):
Tab 2 - Bidder Overview
Tab 3 - Scope of Work
Tab 4 - Bidder Questions
Tab 5 - Pricing

## Overview
ID | BIDDER OVERVIEW
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
5 | # of Clients
6 | Industries Served
7 | Company Overview
8 | Product Solution Overview
9 | Service Overview

## SOW
ID | SCOPE OF WORK
1 | Supply two (2) 60” diameter x 68” deep fiberglass basins with exterior gel coating.
2 | Disconnect incoming grease waste piping from interceptor, vent piping, and discharge piping from pump basins. Remove pumps from basin and prepare for reconnection.
3 | Suction out pump tank one and two and wash down existing pumps is to be completed by National Vacuum. All bidders will include National Vacuum pricing as a separate line in their proposals. Bid winner will use services provided by National Vacuum; and is responsible and will invoice accordingly for this part of the SOW.
4 | Supply and install new schedule 80 PVC piping for incoming grease piping, vent, and discharge piping up to main tie in. Reinstall pumps in basin, new check valves, and new isolation valves.
5 | Remove and dispose of existing fiberglass pump basins and removed piping.
6 | Verify system operation and verify pumps are working properly.
7 | Clean up work area.
8 | Install tee and valves for hose connection above main discharge shut off vales for each tank.
Exclusions:
9 | Electrical disconnections and reconnections to pumps and floats is to be completed by Seneca Gaming.
END OF SOW

## Bidder Questions
INSTRUCTIONS: Please answer YES or NO to all questions below by placing an "X" in the appropriate column. Add any additional information in the COMMENTS column as needed or required. Please provide as much detail as possible.
ID | VENDOR MINIMUM REQUIREMENTS | YES | NO | COMMENTS
1 | Are you able to meet the specifications provided? If No, please explain in Comments section.
2 | Can you confirm your typical work days & times?
3 | Can you confirm the lead time required for you to have all materials available & on site to complete the SOW?
4 | Can you confirm your earliest availability to start?
5 | National Vacuum will confirm their availabiltiy & projected start date. Can you describe your estimated timeline for completion, which will be based on the National Vacuum start date?
6 | Do you provide any discounts, such as early payment? If Yes, please explain in the Comments section.
7 | Will you accept SGC's Terms & Conditions as mentioned in the RFP document? If No, please explain in Comments section.
8 | Can you include any exclusions you may have as part of your proposal?
9 | Do you have a rail system? If yes, can you submit your proposal without the rail system and an alternative proposal with (using) the rail system?

## Pricing
INSTRUCTIONS: Please provide a clear review of all pricing and pricing terms for the Scope of Services specified in Exhibit A tab 3.
PRICING & PRICING TERMS