## Instructions
BIDDER INSTRUCTIONS:
Please complete the following tabs as instructed (in each tab):
Tab 2 - Bidder Overview
Tab 3 - Scope of Work
Tab 4 - Bidder Questions
Tab 5 - Pricing

## Overview
ID | BIDDER OVERVIEW
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
5 | # of Clients
6 | Industries Served
7 | Company Overview
8 | Product Solution Overview
9 | Service Overview

## SOW
ID | SCOPE OF WORK
1 | IMMEDIATE NEED: Remove previous four (4),Supply four new (4), and install four new (4) ASME-rated water storage tanks, 42" O.D. x 6’-2” O.H., 400-gallon capacity & four (4) replacement 4-pass double wall U-tube bundles, 14" x 48". Also supply all new gaskets, bolting hardware, and piping as required to complete the installation. Two (2) tanks on 14th floor and two (2) tanks on 23rd floor have active leaks and require immediate replacement. SNRC Facilities Department will remove walls for access to these 4 tanks. Proposals must include valves and installation.
2 | PLANNED NEED: (WILL SCHEDULE SUMMER 2026 THROUGH WINTER 2026): Remove previous six (6) tanks, supply six (6) new, and install six (6) ASME-rated water storage tanks, 42" O.D. x 6’-2” O.H., 400-gallon capacity & six (6) replacement 4-pass double wall U-tube bundles, 14" x 48". Also supply all new gaskets, bolting hardware, valves, pumps, and piping as required to complete the installation. Two (2) tanks on 8th floor, two (2) tanks on 19th, and two (2) tanks on 27th floor DO NOT have active leaks and will be scheduled for replacement in line with Seneca Niagara Hotel Room Renovation Project this year.
3 | PLANNED NEED: Remove three (3) existing podium tanks, supply three (3) new, and install three (3) new PODIUM Bundle Tanks 750 gallon (Currently Wheeler Brand, Bundle Tank – WHEELER WK-30L-4884, 48” X 84”, 750 Gallon), also replace 4-pass double wall u-tube bundles in 2nd Floor mechanical room.
4 | Provide information and documentation for (minimum 1 year) installation warranty.
5 | Provide information and documentation for manufacturer's warranty on tanks.
6 | Include in your proposal an option for Contractor to demo and reconstruct access walls (to gain access) on 6 and 3 (non-emergency) units
7 | Disconnect all piping and the heat exchanger from the existing tanks.
8 | Rig and trip the existing tanks from the applicable mechanical rooms, transport via the freight elevator to the loading dock area, and remove it from the floor prior to delivery of the new tanks.
9 | Dispose of the old tanks using the casino fork truck to transfer it to the designated dumpster (SGC owned dumpster).
10 | Rig, trip, and transport the new tanks from the loading dock to the mechanical room via freight elevator, then set into final position.
11 | Install the new heat exchanger bundles into the new tanks.
12 | Reconnect all piping to the new tanks and bundles.
13 | Replace any faulty valves (if applicable).
14 | Provide insulation on piping and components as needed to match existing conditions.
15 | Fill, vent, and test the new tanks for proper operation.
16 | Clean up work areas.
Exclusions:
17 | Removal of wall to access and install 4 units that are needed immediately will be performed by in-house SGC staff.
Notes:
18 | Will accept brand alternatives so long as equivalent to current and are concrete lined steel tanks.
19 | Freight elevator (in service area) may be used.
20 | All tanks and equipment should be delivered to NORTH DOCK at Seneca Niagara
21 | Contractor to use SGC owned dumpster for disposal of existing tanks.
22 | Exclude all electrical work
23 | Casino Fork truck may be used
24 | Include TERO Line in quotation for 5% of Total
25 | Drawings (for reference) of existing podu
25a | 400 Bundle Tank (Existing) Below
25b | 750 Podium Tank (Existing) Below
END OF SOW

## Bidder Questions
INSTRUCTIONS: Please answer YES or NO to all questions below by placing an "X" in the appropriate column. Add any additional information in the COMMENTS column as needed or required. Please provide as much detail as possible.
ID | VENDOR MINIMUM REQUIREMENTS | YES | NO | COMMENTS
1 | Are you able to meet the specifications provided? If No, please explain in Comments section.
2 | Can you confirm your typical work days & times?
3 | Can you confirm the lead time required for you to have all materials available & on site to complete the SOW?
4 | Can you confirm your earliest availability to start?
5 | Do you provide any discounts, such as early payment? If Yes, please explain in the Comments section.
6 | Will you accept SGC's Terms & Conditions as mentioned in the RFP document? If No, please explain in Comments section.
7 | Can you include any exclusions you may have as part of your proposal?
8 | Can you confirm and provide documentation regarding your installation warranty?
9 | Can you confirm and provide documentation for any manufacture's warranty for the tank?
10 | Do you understand the TERO Requirements as specified in the RFP document?

## Pricing
INSTRUCTIONS: Please provide a clear review of all pricing and pricing terms for the Scope of Services specified in Exhibit A tab 3.
PRICING & PRICING TERMS | QTY: | PRICE:
Remove previous four (4),Supply four new (4), and install four new (4) ASME-rated water storage tanks per SOW: Immediate | 1 | 0
Remove previous six (6) tanks, supply six (6) new, and install six (6) ASME-rated water storage tanks, 42" O.D. x 6’-2” O.H., 400-gallon capacity & six (6) replacement 4-pass double wall U-tube bundles, 14" x 48". Also supply all new gaskets, bolting hardware, valves, pumps, and piping as required to complete the installation. Two (2) tanks on 8th floor, two (2) tanks on 19th, and two (2) tanks on 27th floor DO NOT have active leaks and will be scheduled for replacement in line with Seneca Niagara Hotel Room Renovation Project this year. | 1 | 0
Remove three (3) existing podium tanks, supply three (3) new, and install three (3) new PODIUM Bundle Tanks 750 gallon (Currently Wheeler Brand, Bundle Tank – WHEELER WK-30L-4884, 48” X 84”, 750 Gallon), also replace 4-pass double wall u-tube bundles in 2nd Floor mechanical room. | 1 | 0
Option for Contractor to demo and reconstruct access walls (to gain access) on 6 and 3 (non-emergency) units | 1 | 0
TERO (5%) | 1 | 0