## Instructions
BIDDER INSTRUCTIONS:
Please complete the following tabs as instructed (in each tab):
Tab 2 - Bidder Overview
Tab 3 - Scope of Work
Tab 4 - Bidder Questions
Tab 5 - Pricing

## Overview
ID | BIDDER OVERVIEW
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
5 | # of Clients
6 | Industries Served
7 | Company Overview
8 | Product Solution Overview
9 | Service Overview

## SOW
ID | SPECIFICATIONS & SCOPE OF WORK
For a TDR (Team Dining Room) Refresh Porject, SGC is seeking qualified vendors to supply and install new vinyl plank flooring. This project will also require the removal and disposal of existing wall bases and supply and install of new wall bases.
MATERIALS:
A1. Mannington stride / cottontail C138 Qty: 5600 Square Feet of Flooring - will accept equivalent flooring and color (https://www.manningtoncommercial.com/products/hard-surface/lvt/stride/?color=84768615-3cb4-49ce-a6bd-6bc7c4791267) Quote 2.5mm thickness and 5mm thickness of equivalent
A2. Mannington Stride / London Fog (C139) Qty: 2900 Square Feet of Flooring - will accept equivalent flooring and color https://www.manningtoncommercial.com/products/hard-surface/lvt/stride/?color=9052b004-e7ae-4084-8515-6b2cf7553829 Quote 2.5mm thickness and 5mm thickness of equivalent
A2. To be installed in the following areas: 1.) The hot line 2.) The cold line 3.) The smoking room 4.) A designated pathway from Entry Door to the entry of the food line
B. ADHESIVE, Qty: 4 Gallons, additional as needed
C. TRANSITIONS, Qty: 60 LF
D. WALL BASE, Qty: 600 LF, 4.5" H
E. WALL BASE ADHESIVE, (TUBE, MANUFACTURER RECOMMENDED)
Provisions:
1. Supply all materials including shipping
2. Floor Prep and skim coating of floor (7686 SQFT)
3. Floor patching (where needed)
4. Remove and dispose of any transitions and wall bases
5. Install new vinyl plank over existing floor
6. Install new wall bases
Submittals:
1. Literature shall be provided that indicate spec and color of vinyl plank flooring
2. Proposals must include TERO (5%).
3. Proposals should indicate lead times associated with materials.
4. Work may be completed on dayshift, Monday thru Friday. Confirm # of mobilizations and schedule of work.
END OF SOW

## Bidder Questions
INSTRUCTIONS: Please answer YES or NO to all questions below by placing an "X" in the appropriate column. Add any additional information in the COMMENTS column as needed or required. Please provide as much detail as possible.
ID | VENDOR MINIMUM REQUIREMENTS | YES | NO | COMMENTS
1 | Are you able to meet the specifications provided? If No, please explain in Comments section.
2 | Can you confirm your typical work days & times?
3 | Can you confirm the lead time required for you to have all materials available & on site to complete the SOW?
4 | Can you confirm your earliest availability to start?
5 | Do you provide any discounts, such as early payment? If Yes, please explain in the Comments section.
6 | Do you understand the TERO Requirements as specified in the RFP document?
7 | Will you accept SGC's Terms & Conditions as mentioned in the RFP document? If No, please explain in Comments section.
8 | Can you include any exclusions you may have as part of your proposal?

## Pricing
INSTRUCTIONS: Please provide a clear review of all pricing and pricing terms for the Scope of Services specified in Exhibit A tab 3.
PRICING & PRICING TERMS | QTY | PRICE:
MATERIALS including flooring at 2.5mm THICKNESS LVT (OPTION) | 1 | 0
MATERIALS including flooring at 5mm THICKNESS LVT (OPTION) | 1 | 0
LABOR | 1 | 0
TERO (5%) | 1 | 0