## Vendor Overview (hidden)
BIDDER OVERVIEW
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
7 | Company Overview
8 | Service Overview

## Units
| Property | Unit | Model | Serial # | kw | Coolant Gallons | Fuel Tank Gallons | Oil Sump | Other | Location
1 | Niagara Falls | Caterpillar | 3516 | 7TN01669 | 2000 | 62 | 5000 | 110 Gal |  | South side of the parking ramp
2 | Niagara Falls | Olympian | DP100P1 | OLY00000JNPS01737 | 100 | 7.3 |  | 4.3 Qts | Oil Filter Full Flow, spin on (API CF-4) | SE corner of Central Plant
3 | Niagara Falls | Kohler | 2000REOZMD | SGM32N3X8 | 2000 | 102 | 7690 | 61 Gal |  | SE corner of Maintenance Shop
4 | Niagara Falls | Clark 1 (Fire Pump) | VMFPT6HR | 91B-02888 |  |  | 250DW
5 | Niagara Falls | Clark 1 (Fire Pump) | VMFPT6HR | 91B-02885 |  |  | 250DW
6 | Buffalo | Kohler | 1600REOZMD | SGM325B8W | 1600 | 130 |  | 55 Gal |  | 1 Fulton Street
7 | Allegany | DDC/MTU | 2000DSEB | 2083690 | 2000 | 150 | 6000 | 100 |  | Primary Backup Genset
8 | Allegany | Kohler | 150REOZJB | 2033880 | 150 | 10 | 595 | 8 |  | Parking Garage Genset
9 | Allegany | Detroit | 800ROZD4 | 795315 | 800 | 50 | 2700 | 20 |  | Arena Genset

## Bidder Questions
| BIDDER QUESTIONS | COMMENTS
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
5 | Company Overview
6 | What certifications and licenses does your team hold related to generator maintenance?
7 | Do you offer emergency repair services? If so, what's your response time?
8 | What procedures do you have in place for handling emergency situations?
9 | What quality control measures do you have in place to ensure maintenance work is performed to standards?
10 | How do you track maintenance history and service reports?
11 | What health and safety protocols do you follow when performing maintenance and inspections?
12 | How do you ensure your employees adhere to safety standards?
13 | How will you communicate service updates, maintenance reports, and recommendations
14 | Who will be our primary point of contact during the contract period?
15 | What is your pricing structure for routine maintenance and inspections?

## NF Schedule
Month | Olympian 100kw | Caterpillar 3516 | Kohler 2000 REO | Clarke Fire Pump #1 | Clarke Fire Pump #2 | Notes
Service level to be performed
1 | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1: Includes 30-minute load test + oil/coolant sample analysis
2
3
4
5 | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1: Includes 30-minute load test + oil/coolant sample analysis
6
7
8
9 | Level 1 $ | Level 1 $ | Level 1 $ | Level 2 $ | Level 2 $ | Level 2 includes oil analysis and change (9 qts ea), fuel and coolant analysis(no reconditioning)
10
11
12
| Coolant Flush (if needed): $ | Coolant Flush (if needed): $ | Coolant Flush (if needed): $ |  |  | Coolant flush rates based on manfacturer spec of coolant: 100kw Olympian: 7.3 Gal CAT 3516: 115 Gal Kohler: 97 Gal
| Level 2 w/ Fuel Sample (no-recon): $ | Level 2 w/ Fuel Sample (no recon): $ | Level 2 W/ Fuel Sample (no-recon): $ |  |  | Level 2 w/ Fuel sample includes, 30 minute building load test, oil/coolant/fuel sample with analysis - no fuel reconditioning, If needed this shall be quoted at the time.
13 | Level 1 $ | Level 1 $ | Level 2: $ | Level 1 $ | Level 1 $ | Level 1: Includes 30-minute load test + oil/coolant sample analysis
14
15
16
17 | Level 2 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1: Includes 30-minute load test + oil/coolant sample analysis
18
19
20
21 | Level 1 $ | Level 2 $ | Level 1 $ | Level 2 $ | Level 2 $ | Level 2 Includes 30-minute building load test, oil/coolant/fuel sample testing. no fuel reconditioning, If needed this shall be quoted at the time.
22
23
24
| Coolant Flush (if needed): $ | Coolant Flush (if needed): $ | Coolant Flush (if needed): $ |  |  | Coolant flush rates based on manfacturer spec of coolant: 100kw Olympian: 7.3 Gal CAT 3516: 115 Gal Kohler: 97 Gal
25 | Level 1 $ | Level 1 $ | Level 1 | Level 1 $ | Level 1 $ | Level 1: Includes 30-minute load test + oil/coolant sample analysis
26
27
28
29 | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1 $ | Level 1: Includes 30-minute load test + oil/coolant sample analysis
30
31
32
33 | Level 1 $ | Level 1 $ | Level 1 $ | Level 2 $ | Level 2 $ | Level 2 includes oil analysis and change (9 qts ea), fuel and coolant analysis(no reconditioning)
34
35
36

## Pricing (hidden)
PRICING
Item | Qty | Unit Cost | Total | Comments
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total | 0

## PM Costs
| Property | Unit | Model |  | kw |  |  |  | Generator Maintenance Pricing |  |  |  | Location
|  |  |  | Serial # |  | Coolant Gallons | Fuel Tank Gallons | Oil Sump | Level 1 | Level 2 | Optional Coolant Flush | Other
1 | Niagara Falls | Caterpillar | 3516 | 7TN01669 | 2000 | 62 | 5000 | 110 Gal |  |  |  |  | South side of the parking ramp
2 | Niagara Falls | Olympian | DP100P1 | OLY00000JNPS01737 | 100 | 7.3 |  | 4.3 Qts |  |  |  |  | Southeast corner of Central Plant
3 | Niagara Falls | Kohler | 2000REOZMD | SGM32N3X8 | 2000 | 102 | 7690 | 61 Gal |  |  |  |  | Southeast corner of Maintenance Shop
4 | Niagara Falls | Clark 1 (Fire Pump) | VMFPT6HR | 91B-02888 |  |  | 250DW
5 | Niagara Falls | Clark 1 (Fire Pump) | VMFPT6HR | 91B-02885 |  |  | 250DW
6 | Buffalo | Kohler | 1600REOZMD | SGM325B8W | 1600 | 130 |  | 55 Gal |  |  |  |  | 1 Fulton Street
7 | Allegany | DDC/MTU | 2000DSEB |  | 2000 | [7 empty] | Primary Backup Genset
8 | Allegany | Kohler | 150REOZJB |  | 150 | [7 empty] | Parking Garage Genset
9 | Allegany | Detroit | 800ROZD4 |  | 800 | [7 empty] | Arena Genseet

## On Call Costs
All additional and/or emergency repairs shall be invoiced at the following rates:
Straight -time | Monday - Friday | 7:30AM- 4:30PM | 0
Overtime | Monday - Friday | 4:30PM- 7:30AM | 0
| Saturday | All day | 0
Double-time | Sunday | All day | 0
| Holiday | All day | 0
Mileage |  |  | 0