## Instructions
BIDDER INSTRUCTIONS:
Please complete the following tabs as instructed (in each tab):
Tab 2 - Bidder Overview
Tab 3 - Scope of Work
Tab 4 - Bidder Questions
Tab 5 - Pricing

## Overview
ID | BIDDER OVERVIEW
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
5 | # of Clients
6 | Industries Served
7 | Company Overview
8 | Product Solution Overview
9 | Service Overview

## SOW
ID | SCOPE OF WORK
1 | Bidder must submit a detailed cost proposal for the scope of work, including all direct and indirect costs.
2 | Contractor will remove grease and other elements from the pits and will dispose of product in accordance with all applicable laws.
3 | Grease pits will be cleaned between 4 - 6 times per year, as determined by SARC.
4 | Pumping of grease and foreign matter from grease pits.
5 | Washing down walls, baffles, and floor of pits.
6 | Filling of pits with water after pumping out to check proper flow going into and out of pits.
7 | Service report is prepared documenting all service performed, condition of pits, and any appropriate housekeeping recommendations.
8 | Must justify cap on what is being dumped – Written receipt of dump charges.
9 | Frequency of grease pit cleanings: 4 - 6 times per year, as determined by SARC.
10 | Vendor must have a Dumpsite Permit for Grease, Kitchen Waste.
11 | Vendor must supply all the required tools, chords, lighting, and equipment to complete the cleanings.
12 | Work is to be performed between the hours of 7am - 3pm, Weekdays (M-F). (Excludes emergency calls and holidays)
13 | · Emergency Call Response Time: Awarded contractor must respond and be on site within four (4) hours of initial call.
14 | Our Grease Pit System consists of:
15 | Event Center Tank – 1000 Gallons
16 | Buffet Tanks – (2) – 2000 Gallons each
17 | Hotel Restaurants – (2) 4700 Gallons each
18 | Totaling – 14,400 Gallons
19 | These are all pumped out on the same day. M-F 7am-3pm
20 | Chemical treatment to be included in the pump out.
21 | Additional Services – Standard / Emergency:
22 | Power Jetting
23 | Snaking
24 | Scoping
25 | Repair of lines
END OF SOW

## Bidder Questions
INSTRUCTIONS: Please answer YES or NO to all questions below by placing an "X" in the appropriate column. Add any additional information in the COMMENTS column as needed or required. Please provide as much detail as possible.
ID | VENDOR MINIMUM REQUIREMENTS | YES | NO | COMMENTS
1 | Are you able to meet the specifications provided? If No, please explain in Comments section.
2 | Can you confirm your typical work days & times?
3 | Can you confirm your earliest availability to start?
4 | Do you provide any discounts, such as early payment? If Yes, please explain in the Comments section.
5 | Will you accept SGC's Terms & Conditions as mentioned in the RFP document? If No, please explain in Comments section.
6 | Can you include any exclusions you may have as part of your proposal?

## Pricing
INSTRUCTIONS: Please provide a clear review of all pricing and pricing terms for the Scope of Services specified in Exhibit A tab 3.
PRICING & PRICING TERMS