## Instructions
BIDDER INSTRUCTIONS:
Please complete the following tabs as instructed (in each tab):
Tab 2 - Bidder Overview
Tab 3 - Scope of Work
Tab 4 - Bidder Questions
Tab 5 - Pricing

## Overview
ID | BIDDER OVERVIEW
1 | Bidder Name
2 | Location
3 | In Business Since
4 | # of Employees
5 | # of Clients
6 | Industries Served
7 | Company Overview
8 | Product Solution Overview
9 | Service Overview

## SOW
ID | SCOPE OF WORK
1 | SENECA NIAGARA RESORT & CASINO
2 | SNRC is seeking a qualified vendor to repair or replace the existing area of refuge system (current system specs below) at the Seneca Niagara Resort & Casino.
3 | Existing System: at 310 4th Street, Niagara Falls, NY 14303
4 | Type: Area of Refuge / Emergency Communication System
5 | Manufacturer: Housing Device, Inc.
6 | COMPONENTS
7 | Master Station: Model HDI-ADA-100 MS-30; QTY: 2
8 | Call Stations: HDI-ADA-100A; QTY: 56
9 | NORTH STAIRWELL LOCATIONS (ECHO 2)
10
11 | SOUTH STAIRWELL LOCATIONS (ECHO 2)
12
13 | Provisions:
14 | 1.) Repair or replace the existing Area of Refuge system to the following minimum specifications:
15 | Must be ADA Compliant, signage must clearly states that this is an area of refuge with an accessibility logo and must be no higher than 48" from the ground.
16 | All necessary equipment to the following minimum requirements:
17 | Master Stations QTY 1 or 2: Cornell A-4212 or approved equivalent (location of install subject to change)
18 | Call Stations QTY 56: Cornell Sentinel 4200 Series Analog or approved equivalent
19 | Any modifications required to accommodate the replacement system proposed shall be completed by the awarded vendor within this scope of work and included in the cost of materials and labor.
20 | Proposal for upgrade must include:
21 | (a) All necessary equipment and hardware for repair or replacement of existing system
22 | (b) Proposed solutions must demonstrate full compatibility with the existing infrastructure and electrical systems
23 | (c)Proposals should include all required hardware, software, and labor for upgrade including 4 hours of training on new system.
24 | 2.)Repalcement of all applicable AoR lighting and signage to comply with current standard and codes. Additional signage needed as applicable.
25 | Labor for installation must include the following:
26 | (a)Removal and disposal of all materials and equipment from existing and outgoing system (LED Panels, ancillary equipment, packaging).
27 | (b)Integration at existing equipment locations and potential new locations for master stations.
28 | (c)Any travel expenses for installation team
29 | (d)System wiring to comply with EIA and NEC standards and all applicable state and local codes
30 | Submittals:
31 | 1.) Literature shall be provided that indicate dimensions, weights, capabilities of all aspects of hardwareand software included in proposal
32 | 2.) Any applicable warranties
33 | 3.) As ALTERNATE include extended warranties
4.) Preventative maintenance plan - based on manufacturer recommendation.
1 | SENECA ALLEGANY RESORT & CASINO
2 | As an option; SARC is seeking a qualified vendor to add one (1) master staton to (current system specs below) at the Seneca Allegany Resort & Casino. Must be compatible with system master station described below.
3 | Existing System: at 777 Seneca Allegany Boulevard
4 | Type: Area of Refuge / Emergency Communication System
5 | Manufacturer: Cornell Communications
6 | COMPONENTS
7 | Master Station: Cornell A-4212; QTY: 1
8 | Call Stations: Cornell Sentinel 4200 Series Analog; QTY: 11 are existing and do not require repalcement. Master station must be compatible with these call stations.
9 | SOUTHWEST STAIRWELL - NEW TOWER
10 | #VALUE!
13 | Provisions:
14 | 1.) Install one (1) master station in addition to existing Area of Refuge system at the dispatcher desk located in the back of building to the following minimum specifications:
15 | Must be ADA Compliant, signage must clearly states that this is an area of refuge with an accessibility logo and must be no higher than 48" from the ground.
16 | All necessary equipment to the following minimum requirements:
17 | Master Stations QTY 1: Cornell A-4212 or approved equivalent (location of install subject to change)
19 | Any modifications required to accommodate the replacement system proposed shall be completed by the awarded vendor within this scope of work and included in the cost of materials and labor.
20 | Proposal for upgrade must include:
21 | (a) All necessary equipment and hardware for repair or replacement of existing system
22 | (b) Proposed solutions must demonstrate full compatibility with the existing infrastructure and electrical systems
23 | (c)Proposals should include all required hardware, software, and labor for upgrade including 4 hours of training on new system.
24 | 2.)Repalcement of all applicable AoR lighting and signage to comply with current standard and codes. Additional signage needed as applicable.
25 | Labor for installation must include the following:
27 | (a)Integration at new locations for master station.
28 | (b)Any travel expenses for installation team
29 | (c)System wiring to comply with EIA and NEC standards and all applicable state and local codes
30 | Submittals:
31 | 1.) Literature shall be provided that indicate dimensions, weights, capabilities of all aspects of hardwareand software included in proposal
32 | 2.) Any applicable warranties
33 | 3.) As ALTERNATE include extended warranties
34 | 4.) Preventative maintenance plan - based on manufacturer recommendation.
35
36 | END OF SOW

## Bidder Questions
INSTRUCTIONS: Please answer YES or NO to all questions below by placing an "X" in the appropriate column. Add any additional information in the COMMENTS column as needed or required. Please provide as much detail as possible.
ID | VENDOR MINIMUM REQUIREMENTS | YES | NO | COMMENTS
1 | Are you able to meet the specifications provided? If No, please explain in Comments section.
2 | Can you confirm your typical work days & times?
3 | Can you confirm the lead time required for you to have all materials available & on site to complete the SOW?
4 | Can you confirm your earliest availability to start?
5 | Do you provide any discounts, such as early payment? If Yes, please explain in the Comments section.
6 | Will you accept SGC's Terms & Conditions as mentioned in the RFP document? If No, please explain in Comments section.
7 | Do you understand the TERO Requirements involved?
8 | Can you provide any warranties associated with the equipment and/or installation?
9 | Are there any tariffs associated with your quotation?
10 | Can you confirm the number of technicians that will be installing the system and how many days it will take to complete?

## Pricing
INSTRUCTIONS: Please provide a clear review of all pricing and pricing terms for the Scope of Services specified in Exhibit A tab 3.
SNRC PRICING & PRICING TERMS | QTY | PRICE | TOTAL
Cornell A-4212 or approved equivalent (MATERIALS) | 2 | 0 | 0
Cornell Sentinel 4200 Series Analog or approved equivalent (MATERIALS) | 56 | 0 | 0
Installation (LABOR) | 1 | 0 | 0
SUBTOTAL | - | - | 0
TERO (5%) - Tribal Employment Rights Ordinance | - | 5% | 0
TOTAL | - |  | 0
Extended Warranty Option | - |  | 0
Preventative Maintenance Plan Option | - |  | 0
SARC PRICING & PRICING TERMS | QTY | PRICE | TOTAL
Cornell A-4212 or approved equivalent (MATERIALS) | 1 | 0 | 0
Installation (LABOR) | 1 | 0 | 0
SUBTOTAL | - | - | 0
TOTAL | - |  | 0
Extended Warranty Option | - |  | 0
Preventative Maintenance Plan Option | - |  | 0